TEST REPORT FOR AIR-CONDITIONER MODELS

(AIR-ENTHALPY METHOD)

[COVER PAGE TO BE PRINTED ON TESTING LABORATORY’S COMPANY LETTERHEAD]

Test Report for Air-Conditioner [Model Number]

[Test report reference number]

Section 1: Testing Laboratory

| a) Date of test (dd/mm/yy) |  |
| --- | --- |
| b) Name of testing laboratory |  |
| c) Location of testing laboratory |  |
| d) Name and designation of testing officer |  |
| e) Name and designation of approving officer |  |

Section 2: Product Specification

| a) Brand |  |
| --- | --- |
| b) Type |  |
| c) Phase |  |
| d) Climate type |  |
| e) Country/Region of origin |  |
| f) Type of refrigerant |  |
| g) Total refrigerant charge (kg) |  |
| h) Model number |  |
| i) Voltage (V) |  |
| j) Frequency (Hz) |  |
| k) Current (A) |  |
| l) Weight (kg) |  |
| m) Overall dimensions (h x w x d) (mm) |  |
| n) Crankcase heater (W) |  |
| o) Rated total cooling capacity at 100% load & 50% load (W) |  |  |
| p) Rated power input at 100% load & 50% load (W) |  |  |

Section 3: Cooling Capacity Test

| a) Test standard |  |
| --- | --- |
| b) Test method | Air enthalpy |

|  | 100% load | 50% load |
| --- | --- | --- |
| c) Applied voltage(s) (V) |  |  |
| d) Frequency (Hz) |  |  |
| e) Current (A) |  |  |
| f) Duration of test (hr) |  |  |
| g) Total cooling capacity (W) |  |  |
| h) Sensible cooling capacity (W) |  |  |
| i) Latent cooling capacity (W) |  |  |
| j) Effective power input to equipment or individual power inputs to each of the electrical equipment components (W) |  |  |
| k) Total power input to equipment and its components (W) |  |  |
| l) Coefficient of Performance (COP) (W/W) |  |  |
| m) Lowest COP (Yes/No) |  |
| n) Barometric pressure (kPa) |  |  |
| o) Fan speed setting (RPM) |  |  |
| p) Indoor-side air-flow (m3/s of standard air) |  |  |
| q) External resistance to air-flow for each indoor unit (Pa) |  |  |
| r) Volume flow rate of air and all relevant measurements for its calculation (m3/s) |  |  |
| s) Dry-bulb temperature of air entering equipment (ºC) |  |  |
| t) Wet-bulb temperature of air entering equipment (ºC) |  |  |
| u) Dry-bulb temperature of air leaving measuring device (ºC) |  |  |
| v) Wet-bulb temperature of air leaving measuring device (ºC) |  |  |
| w) Outdoor dry-bulb and wet-bulb temperatures (ºC) |  |  |
| x) Setting of variable capacity compressor |  |  |

Section 4: Energy consumption test (Standby mode)

| a) Test standard |  |
| --- | --- |

|  | Measured value |
| --- | --- |
| b) Voltage (V) |  |
| c) Frequency (Hz) |  |
| d) Ambient temperature (ºC) |  |
| e) Standby Power (W) |  |
| f) Procedure for Standby Power testing (E.g. 5.3.2 or 5.3.3 or 5.3.4 of IEC 62301:2011) |  |

Section 5: Signatures

- Name and signature of testing and approving officers

- Date

Appendix A – Photos

- Color photos showing the exterior and interior of the registered model in the available finishing and colors

- Color photo showing the number of connectors on the outdoor unit

- Color photo of the nameplate

Appendix B – Schematic Drawing

- Schematic drawing clearly indicating the model’s key internal components

Appendix C – Component List

- Technical specification and description of the model’s key internal components

Appendix D – Table Showing the Ratio of the Total Cooling Capacity of the Indoor Units to the Cooling Capacity of the Outdoor Unit

|  |  | Cooling capacity (kW) |  |
| --- | --- | --- | --- |
| Model no. | Full/Part load | Outdoor unit | Indoor unit | Ratio |
|  |  |  | 1 | 2 | 3 | 4 | 5 | Total |  |

# Footnotes

For split type air-conditioners, data for indoor and outdoor units must be included

For split type inverter air-conditioners only

Tested with compatible indoor units that will result in lowest COP

##### For indoor and outdoor units