## Doc control
Document changes
Revision | Date | Changes made
R0 | 2020-02-04 | Intial release
R1 | 2020-03-23 | Added Data validation for EDMA

## Tb1,Scope of EEOA
Table 1: Scope of EEOA
Please fill in Table 1 according to the format below and do not amend it.
1 Reference period refers to a period of 12 continuous months selected by the relevant business activity which is representative of the business-as-usual operations of the relevant business activity during the assessment period.
2 ECS to be labelled as numbers, eg ECS 1 or ECS 2. Clearly indicate the ECS numbering in the process flow diagram.
3 This is to prevent double counting of end use ECSs with transformative/ upstream/ utility ECS within the site. If the onsite transformative/upstream/utility ECS is selected as part of the 80% of the site's total energy consumption, the end use ECSs that use the energy commodities will be required under the scope of the EEOA.
4 If an energy transformative system is grouped together with the end use system, consider it as a transformative system and indicate the energy consumption and percentage of energy consumption vs total energy consumption.
5 If end use ECS is linked to a transformative ECS, fill nil. If the ECS is a transformative system that is linked to another ECS that is a transformative system, only account for the energy used by the first transformative ECS. The energy consumption of subsequent ECS should be nil.
Reference period1 :
Energy Consuming System (ECS)2 | Description of ECS | Type of fuel or energy commodity consumed | Type of ECS (Transformative/ End use)3 | (For transformative ECSs only) State end use ECSs linked to this ECS4 | Energy consumption (TJ/ year)5 | Percentage of energy consumption vs total energy consumption5
Sum of energy consumed by ECSs that will be assessed in EEOA
Total site energy consumption

## Tb2 Summary of EEOs
Table 2: Summary of all Energy Efficiency Opportunities Identified
Please fill in Table 2 according to the format below and do not amend it.
Derivation of the figures in Table 2 must be clearly shown in section 3 of the Word template.
S/N should follow the EEO numbering in section 3 of the Word template.
1Priority ranking basis and criteria should be stated in section 2.2.2 of the Word template.
S/N | Description of energy efficiency opportunity (EEO) | Type of energy consuming system EEO is identified in | Estimated investmentcost | Estimated annual energy savings | Estimated annual cost savings | Payback period | Internal rate of return | Estimated annual greenhouse gas emission abatement/ reduction (Direct) | Estimated annual greenhouse gas emission abatement/ reduction (Indirect) | To be implemented? (Y/N) | If Y, state proposed timeframe for implementation | Priority ranking1 | Applying for grant? (Y/N)
|  |  | ($ SGD) | (TJ) | ($ SGD) | (Years) | (%) | (tCO2e) | (tCO2e)

## Tb5 Instrument Records
Table 5: Instrument Specifications for EEOA Measurements
Please fill in Table according to the format below and do not amend it.
Process flow/ step/ line to be measured | ECS/ Sub-ECS | Parameters to be measured | Units | Type of monitoring instruments | Frequency of measurements | Duration of measurements | Indicative accuracy of instruments (%)

## Type of fuel & energy commodity
Default net calorific value or energy content value
| Types of Fuel & Energy Commodity | Factor | Unit | [5 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
Fuel | Crude Oil and Petroleum Products | [5 empty] | Header |  | Fuel | Net calorific value |  | CO2 emission factor (t CO2/TJ) | CH4 emission factor (t CH4/TJ) | N2O emission factor (t N2O/TJ) | CO2e emission factor (t CO2e/TJ) | Unit
| Aviation Gasoline | 44.3 | TJ/ 10³ tonnes |  |  |  | Selection list |  | Anthracite | 26.7 | TJ/ 10³ tonnes | 98.3 | 0.001 | 0.0015 | 0.486 | tCO2e/ TJ
| Bitumen | 40.2 | TJ/ 10³ tonnes | [5 empty] | Aviation Gasoline | 44.3 | TJ/ 10³ tonnes | 70 | 0.003 | 0.0006 | 0.249 | tCO2e/ TJ
| Crude Oil | 42.3 | TJ/ 10³ tonnes | [5 empty] | Biodiesels | 27 | TJ/ 10³ tonnes | 70.8 | 0.003 | 0.0006 | 0.249 | tCO2e/ TJ
| Ethane | 46.4 | TJ/ 10³ tonnes | [5 empty] | Biogasoline | 27 | TJ/ 10³ tonnes | 70.8 | 0.003 | 0.0006 | 0.249 | tCO2e/ TJ
| Gas / Diesel Oil | 43 | TJ/ 10³ tonnes | [5 empty] | Bitumen | 40.2 | TJ/ 10³ tonnes | 80.7 | 0.003 | 0.0006 | 0.249 | tCO2e/ TJ
| Jet Gasoline | 44.3 | TJ/ 10³ tonnes | [5 empty] | Blast Furnace Gas | 2.47 | TJ/ 10³ tonnes | 260 | 0.001 | 0.0001 | 0.052 | tCO2e/ TJ
| Jet Kerosene | 44.1 | TJ/ 10³ tonnes | [5 empty] | Brown Coal Briquettes | 20.7 | TJ/ 10³ tonnes | 97.5 | 0.001 | 0.0015 | 0.486 | tCO2e/ TJ
| Other Kerosene | 43.8 | TJ/ 10³ tonnes | [5 empty] | Charcoal | 29.5 | TJ/ 10³ tonnes | 112 | 0.2 | 0.004 | 5.44 | tCO2e/ TJ
| Liquefied Petroleum Gases | 47.3 | TJ/ 10³ tonnes | [5 empty] | Coal Tar | 28 | TJ/ 10³ tonnes | 80.7 | 0.001 | 0.0015 | 0.486 | tCO2e/ TJ
| Lubricants | 40.2 | TJ/ 10³ tonnes | [5 empty] | Coke Oven Coke and Lignite Coke | 28.2 | TJ/ 10³ tonnes | 107 | 0.001 | 0.0015 | 0.486 | tCO2e/ TJ
| Motor Gasoline | 44.3 | TJ/ 10³ tonnes | [5 empty] | Coke Oven Gas | 38.7 | TJ/ 10³ tonnes | 44.4 | 0.001 | 0.0001 | 0.052 | tCO2e/ TJ
| Naphtha | 44.5 | TJ/ 10³ tonnes | [5 empty] | Coking Coal | 28.2 | TJ/ 10³ tonnes | 94.6 | 0.001 | 0.0015 | 0.486 | tCO2e/ TJ
| Natural Gas Liquids | 44.2 | TJ/ 10³ tonnes | [5 empty] | Crude Oil | 42.3 | TJ/ 10³ tonnes | 73.3 | 0.003 | 0.0006 | 0.249 | tCO2e/ TJ
| Orimulsion | 27.5 | TJ/ 10³ tonnes | [5 empty] | Ethane | 46.4 | TJ/ 10³ tonnes | 61.6 | 0.001 | 0.0001 | 0.052 | tCO2e/ TJ
| Paraffin Waxes | 40.2 | TJ/ 10³ tonnes | [5 empty] | Gas / Diesel Oil | 43 | TJ/ 10³ tonnes | 74.1 | 0.003 | 0.0006 | 0.249 | tCO2e/ TJ
| Petroleum Coke | 32.5 | TJ/ 10³ tonnes | [5 empty] | Gas Coke | 28.2 | TJ/ 10³ tonnes | 107 | 0.001 | 0.0001 | 0.052 | tCO2e/ TJ
| Refinery Feedstock | 43 | TJ/ 10³ tonnes | [5 empty] | 1: Hydrogen (H2); 2: 120; 3: TJ/ 10³ tonnes.
| Refinery Gas | 49.5 | TJ/ 10³ tonnes | [5 empty] | Industrial Waste | 10 | TJ/ 10³ tonnes | 143 | 0.03 | 0.004 | 1.87 | tCO2e/ TJ
| Residual Fuel Oil | 40.4 | TJ/ 10³ tonnes | [5 empty] | Jet Gasoline | 44.3 | TJ/ 10³ tonnes | 70 | 0.003 | 0.0006 | 0.249 | tCO2e/ TJ
| Shale Oil | 38.1 | TJ/ 10³ tonnes | [5 empty] | Jet Kerosene | 44.1 | TJ/ 10³ tonnes | 71.5 | 0.003 | 0.0006 | 0.249 | tCO2e/ TJ
| White Spirit and Special Boiling Point (SBP) Spirit | 40.2 | TJ/ 10³ tonnes | [5 empty] | Landfill Gas | 50.4 | TJ/ 10³ tonnes | 54.6 | 0.001 | 0.0001 | 0.052 | tCO2e/ TJ
| Other Petroleum Products | 40.2 | TJ/ 10³ tonnes | [5 empty] | Lignite | 11.9 | TJ/ 10³ tonnes | 101 | 0.001 | 0.0015 | 0.486 | tCO2e/ TJ
| Solid Fuel | [7 empty] | Liquefied Petroleum Gases | 47.3 | TJ/ 10³ tonnes | 63.1 | 0.001 | 0.0001 | 0.052 | tCO2e/ TJ
| Anthracite | 26.7 | TJ/ 10³ tonnes | [5 empty] | Lubricants | 40.2 | TJ/ 10³ tonnes | 73.3 | 0.003 | 0.0006 | 0.249 | tCO2e/ TJ
| Brown Coal Briquettes | 20.7 | TJ/ 10³ tonnes | [5 empty] | Motor Gasoline | 44.3 | TJ/ 10³ tonnes | 69.3 | 0.003 | 0.0006 | 0.249 | tCO2e/ TJ
| Coal Tar | 28 | TJ/ 10³ tonnes | [5 empty] | Municipal Waste | 8.5 | TJ/ 10³ tonnes | N/A | 0.0312 | 0.004 | 1.8952 | tCO2e/ TJ
| Coke Oven Coke and Lignite Coke | 28.2 | TJ/ 10³ tonnes | [5 empty] | Naphtha | 44.5 | TJ/ 10³ tonnes | 73.3 | 0.003 | 0.0006 | 0.249 | tCO2e/ TJ
| Coking Coal | 28.2 | TJ/ 10³ tonnes | [5 empty] | Natural Gas | 48 | TJ/ 10³ tonnes | 56.1 | 0.001 | 0.0001 | 0.052 | tCO2e/ TJ
| Gas Coke | 28.2 | TJ/ 10³ tonnes | [5 empty] | Natural Gas Liquids | 44.2 | TJ/ 10³ tonnes | 64.2 | 0.003 | 0.0006 | 0.249 | tCO2e/ TJ
| Lignite | 11.9 | TJ/ 10³ tonnes | [5 empty] | Oil Shale and Tar Sands | 8.9 | TJ/ 10³ tonnes | 107 | 0.001 | 0.0015 | 0.486 | tCO2e/ TJ
| Oil Shale and Tar Sands | 8.9 | TJ/ 10³ tonnes | [5 empty] | Orimulsion | 27.5 | TJ/ 10³ tonnes | 77 | 0.003 | 0.0006 | 0.249 | tCO2e/ TJ
| Patent Fuel | 20.7 | TJ/ 10³ tonnes | [5 empty] | Other Biogas | 50.4 | TJ/ 10³ tonnes | 54.6 | 0.001 | 0.0001 | 0.052 | tCO2e/ TJ
| Sub-Bituminous Coal | 18.9 | TJ/ 10³ tonnes | [5 empty] | Other Bituminous Coal | 25.8 | TJ/ 10³ tonnes | 94.6 | 0.001 | 0.0015 | 0.486 | tCO2e/ TJ
| Other Bituminous Coal | 25.8 | TJ/ 10³ tonnes | [5 empty] | Other Kerosene | 43.8 | TJ/ 10³ tonnes | 71.9 | 0.003 | 0.0006 | 0.249 | tCO2e/ TJ
| Derived Gases | [7 empty] | Other Liquid Biofuel | 27.4 | TJ/ 10³ tonnes | 79.6 | 0.003 | 0.0006 | 0.249 | tCO2e/ TJ
| Blast Furnace Gas | 2.47 | TJ/ 10³ tonnes | [5 empty] | Other Petroleum Products | 40.2 | TJ/ 10³ tonnes | 73.3 | 0.003 | 0.0006 | 0.249 | tCO2e/ TJ
| Coke Oven Gas | 38.7 | TJ/ 10³ tonnes | [5 empty] | Other Primary Solid Biomass | 11.6 | TJ/ 10³ tonnes | 100 | 0.03 | 0.004 | 1.87 | tCO2e/ TJ
| Oxygen Steel Furnace Gas | 7.06 | TJ/ 10³ tonnes | [5 empty] | Oxygen Steel Furnace Gas | 7.06 | TJ/ 10³ tonnes | 182 | 0.001 | 0.0001 | 0.052 | tCO2e/ TJ
| Town Gas (Gas Works Gas) | 38.7 | TJ/ 10³ tonnes | [5 empty] | Paraffin Waxes | 40.2 | TJ/ 10³ tonnes | 73.3 | 0.003 | 0.0006 | 0.249 | tCO2e/ TJ
| Natural Gas | [7 empty] | Patent Fuel | 20.7 | TJ/ 10³ tonnes | 97.5 | 0.001 | 0.0015 | 0.486 | tCO2e/ TJ
| Natural Gas | 48 | TJ/ 10³ tonnes | [5 empty] | Peat | 9.76 | TJ/ 10³ tonnes | 106 | 0.001 | 0.0015 | 0.486 | tCO2e/ TJ
| Non Fossil-based Fuel | [7 empty] | Petroleum Coke | 32.5 | TJ/ 10³ tonnes | 97.5 | 0.003 | 0.0006 | 0.249 | tCO2e/ TJ
| Industrial Waste | 10 | TJ/ 10³ tonnes | [5 empty] | Refinery Feedstock | 43 | TJ/ 10³ tonnes | 73.3 | 0.003 | 0.0006 | 0.249 | tCO2e/ TJ
| Municipal Waste | 8.5 | TJ/ 10³ tonnes | [5 empty] | Refinery Gas | 49.5 | TJ/ 10³ tonnes | 57.6 | 0.001 | 0.0001 | 0.052 | tCO2e/ TJ
| Waste Oils | 40.2 | TJ/ 10³ tonnes | [5 empty] | Residual Fuel Oil | 40.4 | TJ/ 10³ tonnes | 77.4 | 0.003 | 0.0006 | 0.249 | tCO2e/ TJ
| Peat | [7 empty] | Shale Oil | 38.1 | TJ/ 10³ tonnes | 73.3 | 0.003 | 0.0006 | 0.249 | tCO2e/ TJ
| Peat | 9.76 | TJ/ 10³ tonnes | [5 empty] | Sludge Gas | 50.4 | TJ/ 10³ tonnes | 54.6 | 0.001 | 0.0001 | 0.052 | tCO2e/ TJ
| Biomass and Fuels Derived from Biomass | [7 empty] | Sub-Bituminous Coal | 18.9 | TJ/ 10³ tonnes | 96.1 | 0.001 | 0.0015 | 0.486 | tCO2e/ TJ
| Biodiesels | 27 | TJ/ 10³ tonnes | [5 empty] | Sulphite Lyes (Black Liquor) | 11.8 | TJ/ 10³ tonnes | 95.3 | 0.003 | 0.002 | 0.683 | tCO2e/ TJ
| Biogasoline | 27 | TJ/ 10³ tonnes | [5 empty] | Town Gas (Gas Works Gas) | 38.7 | TJ/ 10³ tonnes | 44.4 | 0.001 | 0.0001 | 0.052 | tCO2e/ TJ
| Charcoal | 29.5 | TJ/ 10³ tonnes | [5 empty] | Waste Oils | 40.2 | TJ/ 10³ tonnes | 73.3 | 0.03 | 0.004 | 1.87 | tCO2e/ TJ
| Landfill Gas | 50.4 | TJ/ 10³ tonnes | [5 empty] | White Spirit and Special Boiling Point (SBP) Spirit | 40.2 | TJ/ 10³ tonnes | 73.3 | 0.003 | 0.0006 | 0.249 | tCO2e/ TJ
| Sludge Gas | 50.4 | TJ/ 10³ tonnes | [5 empty] | Wood / Wood Waste | 15.6 | TJ/ 10³ tonnes | 112 | 0.03 | 0.004 | 1.87 | tCO2e/ TJ
| Sulphite Lyes (Black Liquor) | 11.8 | TJ/ 10³ tonnes | [5 empty] | 1: Others
| Wood / Wood Waste | 15.6 | TJ/ 10³ tonnes
| Other Biogas | 50.4 | TJ/ 10³ tonnes
| Other Liquid Biofuel | 27.4 | TJ/ 10³ tonnes
| Other Primary Solid Biomass | 11.6 | TJ/ 10³ tonnes
Hydrogen
| Hydrogen (H2) | 120 | TJ/ 10³ tonnes.
Other Fuel
Others
Energy commodity | Energy Commodities |  |  | EDB grid carbon factor
| Chilled Water | 0.00587 | TJ/ 10³ tonnes |  |  |  | 5.87 | GJ/ 10³ tonnes
| Compressed Air | 0.00024 | TJ/ cubic metre |  |  |  | 240 | kJ/ cubic metre
| Electricity | 3.6 | TJ/GWh | 408 | tonnes CO2e /GWh |  | Using energy calculator from NEA website
| Steam | 2.64 | TJ/ 10³ tonnes.
Other Energy Commodity
[6 empty] | Factor | Uncertainty | Factor | 1: Uncertainty; 2: Factor; 3: Factor
GHGs | Name | Chemical Formula | Global Warming Potential |  | Emission stream type | Net calorific value (GJ/tonne) | CO2 emission factor (kg CO2/GJ) | CH4 emission factor (kg CH4/GJ) | 1: N2O emission factor (kg N2O/GJ); 2: CO2e emission factor (kg CO2e/GJ); 3: Unit
| Carbon dioxide | CO2 | 1 |  | Anthracite | 26.7 | 98.3 | 0.001 | 1: 0.0015; 2: 0.486; 3: tCO2e/ TJ
| Methane | CH4 | 21 |  | Aviation Gasoline | 44.3 | 70 | 0.003 | 1: 0.0006; 2: 0.249; 3: tCO2e/ TJ
| Nitrous oxide | N2O | 310 |  | Biodiesel | 27 | 70.8 | 0.003 | 1: 0.0006; 2: 0.249; 3: tCO2e/ TJ
| Sulphur hexafluoride | SF6 | 23900 |  | Biogasoline | 27 | 70.8 | 0.003 | 1: 0.0006; 2: 0.249; 3: tCO2e/ TJ
| Nitrogen trifluoride | NF3 | 17200 |  | Bitumen | 40.2 | 80.7 | 0.003 | 1: 0.0006; 2: 0.249; 3: tCO2e/ TJ
| HFC-23 | CHF3 | 11700 |  | Blast Furnace Gas | 2.47 | 260 | 0.001 | 1: 0.0001; 2: 0.052; 3: tCO2e/ TJ
| HFC-32 | CH2F2 | 650 |  | Brown Coal Briquettes | 20.7 | 97.5 | 0.001 | 1: 0.0015; 2: 0.486; 3: tCO2e/ TJ
| HFC-41 | CH3F | 150 |  | Charcoal | 29.5 | 112 | 0.2 | 1: 0.004; 2: 5.44; 3: tCO2e/ TJ
| HFC-125 | CHF2CF3 | 2800 |  | Coal Tar | 28 | 80.7 | 0.001 | 1: 0.0015; 2: 0.486; 3: tCO2e/ TJ
| HFC-134 | CHF2CHF2 | 1000 |  | Coke Oven Coke and Lignite Coke | 28.2 | 107 | 0.001 | 1: 0.0015; 2: 0.486; 3: tCO2e/ TJ
| HFC-134a | CH2FCF3 | 1300 |  | Coke Oven Gas | 38.7 | 44.4 | 0.001 | 1: 0.0001; 2: 0.052; 3: tCO2e/ TJ
| HFC-143 | CH2FCHF2 | 300 |  | Coking Coal | 28.2 | 94.6 | 0.001 | 1: 0.0015; 2: 0.486; 3: tCO2e/ TJ
| HFC-143a | CH3CF3 | 3800 |  | Crude Oil | 42.3 | 73.3 | 0.003 | 1: 0.0006; 2: 0.249; 3: tCO2e/ TJ
| HFC-152 | CH2FCH2F | 53 |  | Ethane | 46.4 | 61.6 | 0.001 | 1: 0.0001; 2: 0.052; 3: tCO2e/ TJ
| HFC-152a | CH3CHF2 | 140 |  | Gas Coke | 28.2 | 107 | 0.001 | 1: 0.0001; 2: 0.052; 3: tCO2e/ TJ
| HFC-161 | CH3CH2F | 12 |  | Gas/Diesel Oil | 43 | 74.1 | 0.003 | 1: 0.0006; 2: 0.249; 3: tCO2e/ TJ
| HFC-227ea | CF3CHFCF3 | 2900 |  | Industrial Waste | 10 | 143 | 0.03 | 1: 0.004; 2: 1.87; 3: tCO2e/ TJ
| HFC-236cb | CH2FCF2CF3 | 1340 |  | Jet Gasoline | 44.3 | 70 | 0.003 | 1: 0.0006; 2: 0.249; 3: tCO2e/ TJ
| HFC-236ea | CHF2CHFCF3 | 1370 |  | Jet Kerosene | 44.1 | 71.5 | 0.003 | 1: 0.0006; 2: 0.249; 3: tCO2e/ TJ
| HFC-236fa | CF3CH2CF3 | 6300 |  | Landfill Gas | 50.4 | 54.6 | 0.001 | 1: 0.0001; 2: 0.052; 3: tCO2e/ TJ
| HFC-245ca | CH2FCF2CHF2 | 560 |  | Lignite | 11.9 | 101 | 0.001 | 1: 0.0015; 2: 0.486; 3: tCO2e/ TJ
| HFC-245fa | CHF2CH2CF3 | 1030 |  | Liquefied Petroleum Gas | 47.3 | 63.1 | 0.001 | 1: 0.0001; 2: 0.052; 3: tCO2e/ TJ
| HFC-365mfc | CH3CF2CH2CF3 | 794 |  | Lubricants | 40.2 | 73.3 | 0.003 | 1: 0.0006; 2: 0.249; 3: tCO2e/ TJ
| HFC-43-10mee | CF3CHFCHFCF2CF3 | 1300 |  | Motor Gasoline | 44.3 | 69.3 | 0.003 | 1: 0.0006; 2: 0.249; 3: tCO2e/ TJ
| PFC-14 | CF4 | 6500 |  | Municipal Waste 11 | N/A | N/A | 0.0312 | 1: 0.004; 2: 1.8952; 3: tCO2e/ TJ
| PFC-116 | C2F6 | 9200 |  | Naphtha | 44.5 | 73.3 | 0.003 | 1: 0.0006; 2: 0.249; 3: tCO2e/ TJ
| PFC-218 | C3F8 | 7000 |  | Natural Gas | 48 | 56.1 | 0.001 | 1: 0.0001; 2: 0.052; 3: tCO2e/ TJ
| PFC-318 | c-C4F8 | 8700 |  | Natural Gas Liquids | 44.2 | 64.2 | 0.003 | 1: 0.0006; 2: 0.249; 3: tCO2e/ TJ
| PFC-3-1-10 | C4F10 | 7000 |  | Oil Shale and Tar Sands | 8.9 | 107 | 0.001 | 1: 0.0015; 2: 0.486; 3: tCO2e/ TJ
| PFC-4-1-12 | C5F12 | 7500 |  | Orimulsion | 27.5 | 77 | 0.003 | 1: 0.0006; 2: 0.249; 3: tCO2e/ TJ
| PFC-5-1-14 | C6F14 | 7400 |  | Other Biogas | 50.4 | 54.6 | 0.001 | 1: 0.0001; 2: 0.052; 3: tCO2e/ TJ
Other Perfluorinated Compounds | PFC-9-1-18 | C10F18 | 7500 |  | Other Bituminous Coal | 25.8 | 94.6 | 0.001 | 1: 0.0015; 2: 0.486; 3: tCO2e/ TJ
| c-C3F6 | c-C3F6 | 17340 |  | Other Kerosene | 43.8 | 71.9 | 0.003 | 1: 0.0006; 2: 0.249; 3: tCO2e/ TJ
| SF5CF3 | SF5CF3 | 17700 |  | Other Liquid Biofuel | 27.4 | 79.6 | 0.003 | 1: 0.0006; 2: 0.249; 3: tCO2e/ TJ
Fluorinated Ethers | HFE-125 | CHF2OCF3 | 14900 |  | Other Petroleum Products | 40.2 | 73.3 | 0.003 | 1: 0.0006; 2: 0.249; 3: tCO2e/ TJ
| HFE-134 | CHF2OCHF2 | 6320 |  | Other Primary Solid Biomass | 11.6 | 100 | 0.03 | 1: 0.004; 2: 1.87; 3: tCO2e/ TJ
| HFE-143a | CH3OCF3 | 756 |  | Oxygen Steel Furnace Gas | 7.06 | 182 | 0.001 | 1: 0.0001; 2: 0.052; 3: tCO2e/ TJ
| HCFE-235da2 | CHF2OCHClCF3 | 350 |  | Paraffin Waxes | 40.2 | 73.3 | 0.003 | 1: 0.0006; 2: 0.249; 3: tCO2e/ TJ
| HFE-245cb2 | CH3OCF2CF3 | 708 |  | Patent Fuel | 20.7 | 97.5 | 0.001 | 1: 0.0015; 2: 0.486; 3: tCO2e/ TJ
| HFE-245fa2 | CHF2OCH2CF3 | 659 |  | Peat | 9.76 | 106 | 0.001 | 1: 0.0015; 2: 0.486; 3: tCO2e/ TJ
| HFE-254cb2 | CH3OCF2CHF2 | 359 |  | Petroleum Coke | 32.5 | 97.5 | 0.003 | 1: 0.0006; 2: 0.249; 3: tCO2e/ TJ
| HFE-347mcc3 | CH3OCF2CF2CF3 | 575 |  | Refinery Feedstock | 43 | 73.3 | 0.003 | 1: 0.0006; 2: 0.249; 3: tCO2e/ TJ
| HFE-347pcf2 | CHF2CF2OCH2CF3 | 580 |  | Refinery Gas | 49.5 | 57.6 | 0.001 | 1: 0.0001; 2: 0.052; 3: tCO2e/ TJ
| HFE-356pcc3 | CH3OCF2CF2CHF2 | 110 |  | Residual Fuel Oil | 40.4 | 77.4 | 0.003 | 1: 0.0006; 2: 0.249; 3: tCO2e/ TJ
| HFE-449sl (HFE-7100) | C4F9OCH3 | 297 |  | Shale Oil | 38.1 | 73.3 | 0.003 | 1: 0.0006; 2: 0.249; 3: tCO2e/ TJ
| HFE-569sf2 (HFE-7200) | C4F9OC2H5 | 59 |  | Sludge Gas | 50.4 | 54.6 | 0.001 | 1: 0.0001; 2: 0.052; 3: tCO2e/ TJ
| HFE-43-10pccc124 (H-Galden 1040x) | CHF2OCF2OC2F4OCHF2 | 1870 |  | Sub-bituminous Coal | 18.9 | 96.1 | 0.001 | 1: 0.0015; 2: 0.486; 3: tCO2e/ TJ
| HFE-236ca12 (HG-10) | CHF2OCF2OCHF2 | 2800 |  | Sulphite Lyes (Black Liquor) | 11.8 | 95.3 | 0.003 | 1: 0.002; 2: 0.683; 3: tCO2e/ TJ
| HFE-338pcc13 (HG-01) | CHF2OCF2CF2OCHF2 | 1500 |  | Town Gas (Gas Works Gas) | 38.7 | 44.4 | 0.001 | 1: 0.0001; 2: 0.052; 3: tCO2e/ TJ
| (CF3)2CFOCH3 | (CF3)2CFOCH3 | 343 |  | Waste Oils | 40.2 | 73.3 | 0.03 | 1: 0.004; 2: 1.87; 3: tCO2e/ TJ
| CF3CF2CH2OH | CF3CF2CH2OH | 42 |  | White Spirit and Special Boiling Point Spirit | 40.2 | 73.3 | 0.003 | 1: 0.0006; 2: 0.249; 3: tCO2e/ TJ
| (CF3)2CHOH | (CF3)2CHOH | 195 |  | Wood/Wood Waste | 15.6 | 112 | 0.03 | 1: 0.004; 2: 1.87; 3: tCO2e/ TJ
| HFE-227ea | CF3CHFOCF3 | 1540
| HFE-236ea2 | CHF2OCHFCF3 | 989
| HFE-236fa | CF3CH2OCF3 | 487
| HFE-245fa1 | CHF2CH2OCF3 | 286
| HFE 263fb2 | CF3CH2OCH3 | 11
| HFE-329mcc2 | CHF2CF2OCF2CF3 | 919
| HFE-338mcf2 | CF3CH2OCF2CF3 | 552
| HFE-347mcf2 | CHF2CH2OCF2CF3 | 374
| HFE-356mec3 | CH3OCF2CHFCF3 | 101
| HFE-356pcf2 | CHF2CH2OCF2CHF2 | 265
| HFE-356pcf3 | CHF2OCH2CF2CHF2 | 502
| HFE 365mcf3 | CF3CF2CH2OCH3 | 11
| HFE-374pc2 | CHF2CF2OCH2CH3 | 557
| - (CF2)4CH (OH) - | - (CF2)4CH (OH) - | 73
| (CF3)2CHOCHF2 | (CF3)2CHOCHF2 | 380
| (CF3)2CHOCH3 | (CF3)2CHOCH3 | 27
Hydrocarbons and Other Compounds | CH3OCH3 | CH3OCH3 | 1
| CHCl3 | CHCl3 | 4
| CH2Cl2 | CH2Cl2 | 9
| CH3Cl | CH3Cl | 13
| CH2Br2 | CH2Br2 | 1.54
| Halon 1201 | CHBrF2 | 404
| CF3I | CF3I | 0.4
Perfluoropolyethers | PFPMIE | CF3OCF(CF3)CF2OCF2OCF3 | 10300

## Dropdown Value
| Types of Fuel & Energy Commodity | Purchased/ Generated at site
Fuel | Aviation Gasoline | Generated at site
| Bitumen | Purchased from External Resource
Crude Oil
Ethane
| Gas / Diesel Oil | Transformative/ End use
| Jet Gasoline | Transformative
| Jet Kerosene | End use
Other Kerosene
Liquefied Petroleum Gases
Lubricants
| Motor Gasoline | Yes/ No
| Naphtha | Yes
| Natural Gas Liquids | No
Orimulsion
| Paraffin Waxes | Consolidated Type | Unit
| Petroleum Coke | Billion Btu | bbBTU
| Refinery Feedstock | gramme | g
| Refinery Gas | Gigajoule | GJ
| Residual Fuel Oil | Gigawatt-hour | GWh
| Shale Oil | Kilogramme | kg
| White Spirit and Special Boiling Point (SBP) Spirit | Kilo Litre | Kl
| Other Petroleum Products | kilotonne | Kt
| Anthracite | Kilowatt-hour | KWh
| Brown Coal Briquettes | Litre | l
| Coal Tar | Pound | lb
| Coke Oven Coke and Lignite Coke | Megajoule | MJ
| Coking Coal | Million Btu | mmBTU
| Gas Coke | Million Normal cubic foot | mmNft3
| Lignite | Megawatt-hour | MWh
| Oil Shale and Tar Sands | Normal cubic foot | Nft3
| Patent Fuel | Normal cubic metre | Nm3
| Sub-Bituminous Coal | Refrigeration ton – hours | RTh
| Other Bituminous Coal | Tonnes | t
| Blast Furnace Gas | Terajoule | TJ
| Coke Oven Gas | Other | Other
Oxygen Steel Furnace Gas
Town Gas (Gas Works Gas)
Natural Gas
Industrial Waste
Municipal Waste
Waste Oils
Peat
Biodiesels
Biogasoline
Charcoal
Landfill Gas
Sludge Gas
Sulphite Lyes (Black Liquor)
Wood / Wood Waste
Other Biogas
Other Liquid Biofuel
Other Primary Solid Biomass
Hydrogen (H2)
Other Fuel
Energy commodity | Chilled Water
Compressed Air
Electricity
Steam
Other Energy Commodity