TEST REPORT FOR T8 LED LAMP

[COVER PAGE TO BE PRINTED ON TESTING LABORATORY’S COMPANY LETTERHEAD]

Test Report for Lamp [Model Name]

[Test report reference number]

Section 1: Testing Laboratory

| a) Date(s) of test (dd/mm/yy) |  |
| --- | --- |
| b) Name of testing laboratory |  |
| c) Location/address of testing laboratory |  |

Section 2: Product Specification(s)

| Brand (or Trade Mark) |  |
| --- | --- |
| Model |  |
| Lamp cap |  |
| Use of lamp |  |
| Nominal length (mm) |  |
| Special purpose lamp (Yes/No), if yes, please state purpose |  |
| Dimmability (Yes/No) |  |
| Directional lamp (Yes/No) |  |
| Coloured lamp (Yes/No) |  |
| Direct replacement of T8 fluorescent lamp (Yes/No) |  |
| Comply with IEC 62776 (Yes/No) |  |
| Rated Voltage (V) |  |
| Rated Frequency (Hz) |  |
| Rated lamp wattage (W) |  |
| Rated luminous flux (Im) |  |
| Rated lamp survival factor @6,000h |  |
| Rated lumen maintenance @6,000h |  |
| Rated lamp life (h) |  |
| Correlated colour temperature (K) |  |
| Colour Rendering Index |  |

Section 3: Measurement of luminous flux and lumen maintenance

| a) Test standard |  |
| --- | --- |
| b) Ambient temperature (ºC) |  |
| c) Ambient relative humidity (%RH) |  |
| d) Test voltage |  |
| e) Ageing time (hr) |  |

| Sample no.3 | Lamp Wattage (W) | Initial Luminous flux (Im) | Lumen maintenance @1,000h | Lumen maintenance @6,000h4 | Lamp survival @1,000h (Survive or Fail) | Lamp survival @6,000h4 (Survive or Fail) |
| --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |
| . |  |  |  |  |  |  |
| . |  |  |  |  |  |  |
| . |  |  |  |  |  |  |
| 20 |  |  |  |  |  |  |
| Average |  |  |  |  | Percentage of lamps survived: | Percentage of lamps survived: |

3 At least 20 samples

4 If tested

Section 4: Signatures

| Name of testing officer |  | Name of approving officer |  |
| --- | --- | --- | --- |
| Designation |  | Designation |  |
| Signature |  | Signature |  |
| Date |  | Date |  |

Appendix – Photos

- Color photos of lamp(s) (including lamp caps), marking label(s), LED replacement starter(s) and packing box(es), where applicable.

# Footnotes

T8 LED lamp that is designed as direct replacement for T8 linear fluorescent lamp

Lamp having at least 80% light output within an angle corresponding to a cone of angle 120º

Lamps of chromaticity coordinates:

x < 0.270 or x > 0.530,

y < -2.3172 x2 + 2.3653x - 0.2199 or

y > -2.3172 x2 + 2.3653x - 0.1595