## Routine Bulk Upload
S/N * | Licence No. * | Sample Reference No./Lab report ID | Date of sampling (yyyyMMdd) * | Time of sampling (hh:mm) * | Date of Analysis (yyyyMMdd)* | Testing Lab UEN | Submission Type | Type of AF | Disinfectant use | Test Method | Turbidity (<= 0.5 NTU) | Test Method | pH - for Chlorine use (7.2 - 7.8) | Test Method | Free Residual Chlorine (1 - 5mg/L) | Test Method | pH - for Bromine use indoor only (7.2 - 8.0) | Test Method | Total Bromine for indoor AF (2 - 6mg/L) | Test Method | Heterotrophic Plate Count at 35°C, 48±3 hr (<= 200 CFU/ml) | Test Method | E.coli Count (< 1 CFU/100ml) | Test Method | Legionella (< 1 CFU/100ml) | Test Method | Pseudomonas aeruginosa (< 10 CFU/100ml) | Remarks